## Slide 1: Analysis of Network Outage Reports
Cybersecurity and Communications Reliability Division – Public Safety & Homeland Security Bureau
John Healy
February 2015

## Slide 2: Frequency of Outages by Month

## Slide 3: Standards for Outage Frequencies
Took average of January 2011 through December 2011 as the standard

## Slide 4: Outage Index – For All Outages Except DS3-Simplex
See ATIS-0100021 Analysis of FCC-Reportable Service Outage Data for a description of the method used to calculate the outage index.

## Slide 5: Procedural Events
Procedural events are ones which have a procedural root cause.
Many of these events are related to Planned Maintenance. (We will not include this chart next time)

## Slide 6: Procedural Events by Source

## Slide 7: New Planned Maintenance Cause Codes

## Slide 8: Fiber Cut

## Slide 9: DS3-Simplex

## Slide 10: E911

## Slide 11: Very Large E911 Outages

## Slide 12: E911 – Phase 2 Events

## Slide 13: Phase 2 vs. All Other E911 Outages

## Slide 14: Wireline
Wireline outages are all outages for which the Reason Reportable was at least 900,000 wireline user-minutes.

## Slide 15: DS3 (Non-Simplex) Events

## Slide 16: Big DS3 Outages

## Slide 17: Wireless

## Slide 18: Environmental – External

## Slide 19: SS7

## Slide 20: Malicious Events

## Slide 21: Malicious Activity

## Slide 22: VOIP Reporting

## Slide 23: Duration Trends: DS3 Non-Simplex

## Slide 24: Duration Trends: E911

## Slide 25: Duration Trends: Wireline

## Slide 26: Duration Trends: Wireless

## Slide 27: Test for Trend in Event Duration
Non-DS3-Simplex Outages
Data from 1/12 thru 12/14
Conclusion: Non DS3-Simplex Outages are unchanged in duration from 1/12 to 12/14
DS3-Simplex Events Only
Data from 1/12 thru 12/14
Conclusion: DS3-Simplex Events are unchanged in duration from 1/12 to 12/14
Rank Correlation of duration with date is .001 and is not significant
Rank Correlation of duration with date is .011 and is not significant

## Slide 28: Changes to NORS/DIRS
Changes to NORS/DIRS:
  Added ability to send text messages when DIRS is activated.
Comments and suggestions are greatly appreciated

## Slide 29: NRSC Activities
Current Teams
Best Practices Team
Outage Reporting Advisory Team
  Improvements to the NORS System
  Improvements to the template
  Recommended ways to communicate information
  Improvements to NORS/DIRS manuals
Fiber Cut Team (Done)
IP Transition Team
Planned Maintenance Team: Examine planned maintenance events; recommend ways to upgrade the system without affecting service