## ABOUT THIS ATIS RFI
ATIS RFI - Request for Information Scope
SCOPE:
Network operators are planning for the eventual phase-out of copper facilities, PSTN-based services, and traditional power arrangements; migrating to an IP-based network architecture, increasingly reliant upon commercial power. The Alliance for Telecommunications Industry Solutions (ATIS) is seeking input from all stakeholders in identifying how to meet critical public safety-related needs during this complex migration to new IP-based media alternatives.
About this RFI:
This PSRA-TF Request for Information (RFI) solicits input from key stakeholders, including associations, service providers, manufacturers, and public safety organizations to:
1. Develop an overall picture of solutions for public safety related applications in the all IP-transition;
2. Provide a catalogue summarizing currently-available solutions, with the goal of providing an array of alternative solutions for specific applications; and
3. Identify roadblocks and challenges that highlight areas that lack technical solutions.
Submitters are asked to provide architectural descriptions and diagrams of existing and near-term planned solutions, and are invited to submit any marketing information they wish to share. The information submitted via this RFI will be used to develop a report and a catalogue of solutions that will be made publically available to assist the public safety industry during the transition to IP-based technologies.
About ATIS:
ATIS is a standards development and technical planning organization for the information and communications technologies (ICT) sector. ATIS’ membership includes key stakeholders, including wireless and wireline service providers, cable companies, equipment manufacturers, public safety agencies, software developers, consumer electronics companies, , and broadband providers. ATIS has a comprehensive strategic and technical program to ensure that the transition to new All-IP technologies is as seamless as possible and does not disrupt important functions. To this end, ATIS launched a Public Safety Related Applications Task Force (PSRA-TF) to lead this effort.
ATIS RFI - Sector Selection
On which of the following sectors is your Solution primarily focused:**
(X) Energy & Utilities
(X) Transportation
(X) Public Safety
(X) Alarm Systems
(N/A ) Horizontal Integration of public safety applications within smart cities

## Horizontal Solutions
Horizontal
Please identify the Solution Name, i.e. service name or manufacturer product name/ model number(s), for this Solution.
Please indicate which of the following physical layer technologies listed below are used in your solution.
COAX Cable
Copper cable
Microwave
Optical Fiber cable
Satellite
WDM Optical Fiber cable
Wireless
Other (required)
Please indicate which deployment status applies to your solution:
In operation
Currently part of trial activities
In development
Has the solution been commercially deployed to date?
Follow Up Question: If No, please indicate the development stage of your product/solution.
Please indicate the geographical area(s) where the Solution is deployed (Select all that apply)
Within U.S.
North America (Outside of the US)
Globally (Outside of North America)
Optional: Please list the specific geographic location of deployment
Please indicate which public safety application areas could be supported by your solution: *
EMS/First Responder
Energy & Utilities
Security & Alarms
Transportation
FAA or other federal agencies
Please describe your company’s role in the smart city ecosystem: *
Manufacturer
Integrator
Mobile network operator
Fixed (wired) network operator
Satellite
Application Service Provider
Other (required)
To your knowledge, are public safety applications supported by any smart city project(s) that incorporates your solution (Yes/No) *
Please indicate which of the following functions are supported by your solution
Connectivity
Data Aggregation and Management
Analytics
Cloud services
Customer interface
Other (required)
For your solution, please indicate which of the following smart city attributes offer the greatest opportunity(s) to integrate with public safety applications served by IP-based media
Traffic management and parking
Smart street lighting
Intelligent buildings
Security or video surveillance
Mass notification
Medical (lifeline) services
Other (required)
Does your solution rely upon any open standards or industry-based requirements (Yes/No) *
Please specify how your solution does or does not rely upon any open standards or industry-based requirements *
If you provide application based solution(s), please provide information on how your solution could be integrated with other applications (at a network or device level) to enhance public safety capabilities. *
Please provide any relevant information (case study, white paper, other links or documents) that describe the smart city project.
Horizontal Solutions Sector
The horizontal integration of public safety applications with “Smart City” deployments is beginning to emerge, both globally and in the U.S. Although the initial drivers for Smart City projects may be traffic management and ticketing, smart metering, water and waste management, etc., public safety (including security) is a key opportunity, as these initiatives continue to grow. Typically, smart city implementations encompass not only the connectivity and access, but also the use of cloud, metadata aggregation and analytics to fully optimize the use of available information.
This section of the RFI is seeking information on how the broad set of public safety related applications currently provisioned over legacy copper infrastructure could be integrated into a larger smart city concept. Emerging connected solutions from service providers and manufacturers are creating an opportunity for the horizontal integration of a variety of public safety needs, including all of the areas treated separately in this RFI.
Respondents who offer products or services targeted for the smart city market are requested to fill out this section of the RFI. Other members of the industry who would like to offer useful information regarding smart city projects that incorporate public safety solutions will have an opportunity to submit case studies, white papers or other information at the end of this section.
Questions Related to Horizontal Solutions
Note that respondents should answer all the questions for each of the solutions described, as applicable. For example, if you are describing three solutions, you would prepare three separate set of answers, each having a different Solution Name. All information submitted via this RFI will be used to develop a report that will be made available to the ATIS PSRA-TF participants, RFI respondents, and the public.

## UTILITY ENERGY SECTOR
UTILITY AND ENERGY SECTOR
Please identify the Solution Name, i.e. service name or manufacturer product name/ model number(s), for this Solution.
Please identify which of the following applications that may employ this solution
Protective Relaying
Special Protection Schemes
Synchrophasor Data
Radio Control and Dispatch
Telephone Lines
Supervisory Control and Data Acquisition (SCADA)
Audio Tone Controls
Has this Solution been commercially deployed to date? (yes/no) *
If No, please indicate the development stage of your product/solution.
Please briefly describe the purpose or use of this Solution*
Please describe where the Solution is physically located within the communication circuit.*
Is this product ordinarily purchased/ deployed by the Energy or Utility provider? (yes/no)
Is this product ordinarily deployed in telecommunications providers’ networks to achieve end to end service? (yes/no)*
Please describe your product specifications or service performance in the following areas
Latency
Reliability
Resilience Performance
Is this product used as a substitute for voice and/or analog and digital speed data circuits served by legacy copper technology? (yes/no)*
Does equipment typically need to be replaced at the customer location to implement this solution? (yes/no)*
Does this solution provide TDM circuit emulation services? (yes/no)*
Please indicate which of the following physical layer technologies listed below is used in this Solution:
COAX Cable
Copper Cable
Microwave
Optical Fiber Cable
Satellite
WDM Optical Fiber Cable
Wireless
Please provide a diagram showing this Solution as part of the network architecture with network and user interfaces, transmission media and the communications equipment required at end-point and intermediate locations.
Application 1 - Protective Relaying
This application utilizes slow speed data provisioned over copper facilities to monitor protective relays that isolate faults and protect electrical equipment such as transformers, distribution lines, motors and generators.
Application 2 - Special Protection Schemes
This application utilizes slow speed data provisioned over copper facilities to detect abnormal or predetermined power system conditions and isolate faulted components.
Application 3 - Synchrophasor Data
This application utilizes slow speed data circuits provisioned over copper facilities to transmit data from synchronized phasors (synchrophasors) that provide real-time measurement of electrical quantities from the power system to determine stability, system load and disturbances.
Application 4 - Radio Control and Dispatch
This application utilizes voice grade circuits provisioned over copper facilities to connect or extend the reach of radio and dispatch communication services managed by public safety agencies.
Application 5 - Telephone Voice Grade Lines
This application utilizes voice grade circuits provisioned over copper facilities to connect or extend the reach of land line communication and dispatch communications managed by public safety agencies.
Application 6 - Supervisory Control and Data Acquisition (SCADA)
This application utilizes slow speed data provisioned over copper facilities to provide the communication channels necessary to transport digital data between a control center, data warehouse or enterprise and Remote Terminal Units (RTUs) and Programmable Logic Controllers (PLCs).
Application 7- Audio Tone Controls
This application utilizes voice grade circuits provisioned over copper facilities to transmit tones.

## TRANSPORTATION SECTOR
TRANSPORTATION SECTOR
Please identify the Solution Name, i.e. service name or manufacturer product name/ model number(s), for this Solution.
Has this Solution been commercially deployed to date? (yes/no)
If No, please indicate the development stage of your product/solution.
Which of the following legacy circuit types is this solution designed to replace?
Digital Data Service (DDS)
Voice grade
Metallic Service (Closed contact alarms)
Automatic Ring-down circuit
Other (required):
Please indicate which of the following physical layer technologies listed below is used in this Solution:
COAX Cable
Copper Cable
Microwave
Optical Fiber Cable
Satellite
WDM Optical Fiber Cable
Wireless
What type of carrier technologies can be used with this Solution?
DS1
Metro-Ethernet
HFC
SONET
3G
4G
GigE
Other (required):
Please list the relevant User Network Interface (UNI) standard (s) or specification (s) upon which this solution is based.
In migrating from legacy copper circuits to this solution, does equipment typically need to be replaced at the customer location to implement this Solution (Yes/No)?
Follow up question: If Yes, is a power source required?
Does this solution provide TDM circuit emulation services? (yes/no)
What type of physical topologies does this solution support?
Point-to-Point
Point-to-Multipoint
Mesh
Star
Ring
Other (required):
With which standards, practices or certifications does the identified Solution comply?
Please provide a diagram showing the architecture with the network and user interfaces, transmission media and the communications equipment required at end-point and intermediate locations.
Does the Solution support diversity or backup or multiple control sites (Yes/No)?
Please describe your product specifications or service performance in the following areas
Latency
Reliability
Resilience Performance
Note: Performance criteria may also be included as an attachment
Applications of Interest
This sector includes public transportation rail, light rail, and subway industries. The areas of interest include but are not limited to the list of applications below. Any application that either fully or partially depends on legacy leased voice, data, image, or video facilities or switched services from a service provider would also be included.
Information should include:
• Passenger information systems
• Public address systems
• Emergency telephone systems
• Ticket vending machines, Point of sale systems, Fare collection systems
• Access control systems
• Centralized Traffic control
• Automatic Train Supervision, Positive Train Control
• Railway signaling systems
• Tunnel automation systems
• Alarm systems
• Analog train radio
• Telephone systems
Characteristics of Legacy Technologies
Legacy technologies include any of the traditional leased facilities and switched services offered by service providers. These could include circuit switched voice (POTS), 4 wire leased lines, analog fax and modem lines, data services such as 64kbps DDS, and services provisioned over copper-fed DS1s.
Legacy services would have a demarcation or UNI (user to network interface) at each end. However, one UNI may aggregate services from several other locations. For example, a fare collection system using Frame Relay could have multiple UNIs at each station aggregated into a single UNI at a master site.
The UNI may be as simple as a terminal block, or it may consist of a device such as a Smart Jack. Surge suppressors or isolating transformers may be required in some installations.
In addition to providing connectivity, some of the end devices may be line powered from the telephone circuit. Loop signaling may also be used in some cases.
Purpose and Scope
The continued migration of legacy facilities and services can be enhanced by the availability of new and innovative solutions that will speed the adoption of IP-based technology and contribute to network modernization plans in the long term. Identifying these solutions can assist the industry in delivering highly robust and reliable solutions that meet the requirements of the public safety sector.
Of special interest is the identification and description of communications solutions that accomplish the following objectives: replaces communications equipment that employs legacy facilities or services; can be implemented by telecommunications providers seeking to modernize their networks and; are commercially available and in-use today.
Questions related to Transportation
Note that respondents should answer all the questions for each of the solutions described, as applicable. For example, if you are describing three solutions, you would prepare three separate set of answers, each having a different Solution Name. All information submitted via this RFI will be used to develop a report that will be made available to the ATIS PSRA-TF participants, RFI respondents, and the public.

## PUBLIC SAFETY SECTOR
PUBLIC SAFETY SECTOR
Please identify the Solution Name, i.e. service name or manufacturer product name/ model number(s), for this Solution.
Please indicate which of the following applications in the FEPE industry listed below may employ your solutions in commercial applications
911 and E911 remote PSAP communications
Remote dispatch locations
EAS reporting
EOC data links
Fire Department alarm, paging and ring down systems
Radio Control and Dispatch
Telephone circuits
Helicopter video
Audio Tone Controls
Network monitoring
Please indicate which of the following physical layer technologies listed below is used in this Solution:
COAX Cable
Copper Cable
Microwave
Optical Fiber Cable
Satellite
WDM Optical Fiber Cable
Wireless
Please briefly describe the purpose or use of this Solution
Please describe where the Solution is physically located within the communication circuit.
With which standards, practices or certifications does the identified Solution comply?
Has the implementation of this product resulted in improved resilience or diversity in the overall Solution making for a more robust end product as it provides service to its users? (yes/no)
Is this product ordinarily purchased or deployed by a FEPE provider?
Is this product ordinarily deployed in telecommunications providers’ networks to achieve the end-to-end service?
Is this product used as a substitute for voice or analog and digital speed data circuits served by legacy copper technology?
In migrating from copper legacy circuits to this solution, does equipment typically need to be replaced at the customer location to implement this solution?
Does this solution provide TDM circuit emulation services? (yes/no)
What are the performance, latency, reliability and resiliency performance specifications of your service related to the FEPE applications listed above?
Latency
Reliability
Resilience Performance
Note: Performance criteria may also be included as an attachment
Please provide a diagram showing the architecture with the network and user interfaces, transmission media and the communications equipment required at end-point and intermediate locations for each of the products.
Has this Solution been commercially deployed to date? (yes/no).
Follow Up Question: If No, indicate the development stage of your product or service.
Does your solution depend on DC power or does it use commercial AC mains power?
Does your solution support diversity or backup or multiple control sites? (Yes/No)
Please provide any relevant information (case study, white paper, other links, or documents) that describes FEPE solutions.
Public Safety Sector (Fire, EMS, Police, and Emergency Operations Centers)
Purpose and Scope
This section of the RFI is seeking information on how the broad set of Fire, EMS, Police, and Emergency Operations Centers (FEPE) related applications currently provisioned over legacy copper infrastructure could be integrated, within the scope of identified Best Practices in environments where copper facilities, PSTN based services, and traditionally accepted power arrangements are being phased out.
Respondents who offer products or services targeted for the FEPE market are requested to fill out this section of the RFI. Other members of the industry who would like to offer useful information regarding their projects that incorporate FEPE solutions will have an opportunity to submit case studies, white papers, or other information at the end of this section.
Applications of Interest
All Fire, EMS, Police, and Emergency Operations Centers (FEPE) related applications currently provisioned over legacy copper infrastructure.
Characteristics of Legacy Equipment
Legacy technologies include any of the traditional leased facilities and switched services offered by service providers. These could include circuit switched voice (POTS), 4 wire leased lines, analog fax and modem lines, data services such as 64kbps DDS, and services provisioned over copper-fed DS1s.
Performance Criteria
In general, these solutions require high availability, security, low latency and automatic-switched redundancy. Furthermore, remote real-time network monitoring end-to-end, no access from the public internet, and data encryption to mitigate unauthorized access are also characteristic of these networks.
Questions Related to Public Safety
Note that respondents should answer all the questions for each of the solutions described, as applicable. For example, if you are describing three solutions, you would prepare three separate set of answers, each having a different Solution Name. All information submitted via this RFI will be used to develop a report that will be made available to the ATIS PSRA-TF participants, RFI respondents, and the public.

## ALARM SECTOR
ALARM INDUSTRY SECTOR
Please identify the Solution Name, i.e. service name or manufacturer product name/ model number(s), for this Solution.
Please indicate which application the solution addresses:
Directly connected circuits between Protected Premises and First Response Dispatch Centers
Directly connected circuits between Protected Premises and Central Stations
Both
Has this Solution been commercially deployed to date? (yes/no)
If No, please indicate the development stage of your product/solution.
Which of the following legacy circuit types is this solution designed to replace?
Analog Data Service
Voice grade
Metallic Service (Closed contact alarms)
Automatic Ring-down circuit
“Hoot-N-Holler”
Other
Please indicate which of the following physical layer technologies listed below is used in this Solution:
COAX Cable
Copper Cable
Microwave
Optical Fiber Cable
Satellite
WDM Optical Fiber Cable
Wireless
What type of carrier technologies can be used with this Solution?
DS1
Metro-Ethernet
HFC
SONET
3G
4G
GigE
Other
Please list the relevant User Network Interface (UNI) standard (s) or specification (s) upon which this solution is based.
In migrating from legacy copper circuits to this solution, does equipment typically need to be replaced at the customer location to implement this Solution (Yes/No)?
Follow up question: If Yes, is a power source required?
Does this solution provide TDM circuit emulation services? (yes/no)
What type of physical topologies does this solution support?
Point-to-Point
Point-to-Multipoint
Mesh
Star
Ring
Other
With which standards, practices or certifications does the identified Solution comply?
Please provide a diagram showing the architecture with the network and user interfaces, transmission media and the communications equipment required at end-point and intermediate locations.
Does the Solution support diversity or backup or multiple control sites (Yes/No)?
Please describe your product specifications or service performance in the following areas
Latency
Reliability
Resilience Performance
Note: Performance criteria may also be included as an attachment
Alarm Industry Sector
Application of Interest:
This section of the RFI is seeking information on how the set of Public Safety related applications, served via telecommunications provider networks supported by legacy alarm industry service providers and currently provisioned over legacy copper infrastructure could be served via next generation IP based service architectures and technologies in environments where copper facilities, PSTN based services, and traditionally accepted power arrangements are being phased out. The RFI seeks responses from legacy and new entrant Alarm Service Providers and Equipment Manufacturers for services that today provide direct connection between protected premise and a central station and between protected premise and Public Safety Emergency Response Organizations. These services are presently served via simple open/close connections, voltage/no voltage connections, automatic ring-down circuits, or “hoot-n-holler” audio circuits to provide the alarm signal at the central station or the emergency service responder location.
Respondents who offer products or services targeted for this PSRA market segment are requested to fill out this section of the RFI. Please provide all known solution information that will operate in the transitioned environment. Assume the transitioned environment is an IP based media environment (e.g. all fiber, fiber to copper, Hybrid Fiber Coax, Wireless, Satellite or Microwave and will require some type of equipment that is locally powered as the access network interface. Other members of the industry who would like to offer information regarding projects that incorporate solutions will have an opportunity to submit case studies, white papers, or other information at the end of this section.
The following addresses Alarm Industry applications for which information is requested:
Directly connected circuits between Protected Premises and Central Stations
o Services provided to Human Care Facilities
o Services provided to large public venues and high-rise buildings
o Services provided to correctional facilities
o Services provided to large facilities where loss of property would be high risk
o Services provided to locations where loss of life would be high risk
o Circuits providing intercom services to such facilities
o Circuits providing annunciation signals to such facilities
o Circuits providing alarm signals to the Central Station
Directly connected circuits between Protected Premises and First Response dispatch centers
o Services provided to Human Care Facilities
o Services provided to large public venues and high-rise buildings
o Services provided to correctional facilities
o Services provided to large facilities where loss of property would be high risk
o Services provided to locations where loss of life would be high risk
o Circuits providing intercom services to such facilities
o Circuits providing annunciation signals to such facilities
o Circuits providing alarm signals to the Dispatch Center
The following Alarm Industry applications have already been addressed by NFPA and are excluded from this RFI:
· Alarm service provided over the PSTN originating from a Digital Alarm Communicator Transmittor (DACT) at the protected premises.
· Alarm service provided over a MFVN originating from a DACT at the protected premises.
Characteristics of Legacy Technologies
Legacy technologies utilize a variety of traditional leased circuits offered by service providers. These could include 2 or 4 wire leased circuits, burglar alarm services (BA), analog data services, dedicated facilities such as T1.
Legacy services would have a demarcation or UNI (user to network interface) at each end.
The UNI may be as simple as a terminal block, or it may consist of a device such as a Smart Jack. Surge suppressors or isolating transformers may be required in some installations.
In addition to providing connectivity, some of the end devices may be powered from the telephone line. Loop signaling, E&M signaling, SF or other tone based signaling may also be used in some cases.
Purpose and Scope
The continued migration of legacy facilities and services can be enhanced by the availability of new and innovative solutions that will speed the adoption of IP-based technology and contribute to network modernization plans in the long term. Identifying these solutions can assist the industry in delivering highly robust and reliable solutions that meet the requirements of the public safety sector and the related alarm service based applications.
Of special interest is the identification and description of communications solutions that accomplish the following objectives:
1. replicate the function provided by the existing application using devices provisioned by the communications provider that mimic today’s signal function at the demarcation or UNI while utilizing IP based network communications protocols
2. replace customer owned or alarm service provider owned terminal equipment with modern equipment that provides the same functionality over an IP based network, or solutions that use some combination of network and terminal equipment design to replicate or upgrade the current functionality.
3. Equally important will be the identification of solutions available today in the marketplace and those that will require a development cycle.
Performance Criteria
In general, solutions require high availability, security, low latency and automatic-switched redundancy. Some may require redundancy at the protected premise or all the way to the central station or dispatch center.
Questions Related to Alarm Circuits
Note that respondents should answer all the questions for each of the solutions described, as applicable. For example, if you are describing three solutions, you would prepare three separate set of answers, each having a different Solution Name. All information submitted via this RFI will be used to develop a report that will be made available to the ATIS PSRA-TF participants, RFI respondents, and the public.