## Slide 1: Analysis of Network Outage Reports
Cybersecurity and Communications Reliability Division – Public Safety & Homeland Security Bureau
John Healy
September 2015

## Slide 2: Frequency of Outages by Month

## Slide 3: Standards for Outage Frequencies
Took average of January 2012 through December 2012 as the standard

## Slide 4: Outage Index – For All Outages Except DS3-Simplex
See ATIS-0100021 Analysis of FCC-Reportable Service Outage Data for a description of the method used to calculate the outage index.

## Slide 5: Procedural Events
Procedural events are ones which have a procedural root cause.

## Slide 6: Procedural Events by Source

## Slide 7: New Planned Maintenance Cause Codes

## Slide 8: Fiber Cut

## Slide 9: DS3-Simplex

## Slide 10: E911

## Slide 11: Very Large E911 Outages

## Slide 12: E911 – Phase 2 Events

## Slide 13: Phase 2 vs. All Other E911 Outages

## Slide 14: Wireline
Wireline outages are all outages for which the Reason Reportable was at least 900,000 wireline user-minutes.

## Slide 15: DS3 (Non-Simplex) Events

## Slide 16: Big DS3 Outages

## Slide 17: Wireless

## Slide 18: Environmental – External

## Slide 19: SS7

## Slide 20: Malicious Events

## Slide 21: Malicious Activity
 | Vandalism | Cable Theft | Gun Shots
2011 | 36% (79) | 7% (17) | 4% (9)
2012 | 35% (83) | 8% (18) | 7% (15)
2013 | 37% (83) | 4% (9) | 9% (22)
2014 | 51% (99) | 6% (11) | 11% (22)
2015 | 56% (61) | 11% (10) | 16% (17)

## Slide 22: VOIP Reporting

## Slide 23: Duration Trends: DS3 Non-Simplex

## Slide 24: Duration Trends: E911

## Slide 25: Duration Trends: Wireline

## Slide 26: Duration Trends: Wireless

## Slide 27: Test for Trend in Event Duration
Non-DS3-Simplex Outages
Data from 1/12 thru 6/15
Conclusion: Non DS3-Simplex Outages are unchanged in duration from 1/12 to 6/15
DS3-Simplex Events Only
Data from 1/12 thru 6/15
Conclusion: DS3-Simplex Events are unchanged in duration from 1/12 to 6/15
Rank Correlation of duration with date is -.005 and is not significant
Rank Correlation of duration with date is -.007 and is not significant

## Slide 28: 911 Certification Test System
Testing began on April 8
Production system is available for filing. Initial Certification is due on October 15, 2015.
Comments and suggestions are greatly appreciated

## Slide 29: NRSC Activities
Current Teams
Best Practices Team
Outage Reporting Advisory Team
  Improvements to the NORS System
  Improvements to the template
  Recommended ways to communicate information
  Improvements to NORS/DIRS manuals
IP Transition Team
Planned Maintenance Team: Examine planned maintenance events; recommend ways to upgrade the system without affecting service
Consistent Use of Cause Codes