## Slide 1: Analysis of Network Outage Reports
Cybersecurity and Communications Reliability Division – Public Safety & Homeland Security Bureau
John Healy
May 2016

## Slide 2: Frequency of Outages by Month

## Slide 3: Standards for Outage Frequencies
Took average of January 2013 through December 2013 as the standard

## Slide 4: Outage Index – For All Outages Except DS3-Simplex
See ATIS-0100021 Analysis of FCC-Reportable Service Outage Data for a description of the method used to calculate the outage index.

## Slide 5: Procedural Events by Source

## Slide 6: New Planned Maintenance Cause Codes

## Slide 7: DS3 (Non-Simplex) Events

## Slide 8: Big DS3 Outages

## Slide 9: DS3-Simplex

## Slide 10: Fiber Cut

## Slide 11: E911

## Slide 12: Very Large E911 Outages

## Slide 13: E911 – Phase 2 Events

## Slide 14: Phase 2 vs. All Other E911 Outages

## Slide 15: Wireline
Wireline outages are all outages for which the Reason Reportable was at least 900,000 wireline user-minutes.

## Slide 16: Wireless

## Slide 17: VoIP Reporting

## Slide 18: Environmental – External

## Slide 19: SS7

## Slide 20: Malicious Events

## Slide 21: Malicious Activity
 | Vandalism | Cable Theft | Gun Shots | Total Malicious Events
2012 | 35% (83) | 8% (18) | 7% (15) | 207
2013 | 37% (83) | 4% (9) | 9% (22) | 224
2014 | 51% (99) | 6% (11) | 11% (22) | 193
2015 | 46% (21) | 11% (4) | 13% (6) | 215
2016 | 18% (6) | 0% (0) | 25% (9) | 35
The figures for 2016 are thru March.

## Slide 22: Duration Trends: DS3 Non-Simplex
The duration of DS3 non-simplex outages is statistically unchanged in 2016 compared with 2015 (using a Mann-Whitney test).

## Slide 23: Duration Trends: E911
The duration of E911 outages is statistically unchanged in 2016 compared with 2015 (using a Mann-Whitney test).

## Slide 24: Duration Trends: Wireline
The duration of wireline outages is statistically unchanged from 2015 to 2016 (using a Mann-Whitney test).

## Slide 25: Duration Trends: Wireless
The duration of wireless outages is statistically unchanged from 2015 to 2016 (using a Mann-Whitney test).

## Slide 26: Test for Trend in Event Duration
Non-DS3-Simplex Outages
Data from 1/14 thru 03/16
Conclusion: Non DS3-Simplex Outages are shorter in duration from 1/14 to 03/16
DS3-Simplex Events Only
Data from 1/14 thru 03/16
Conclusion: DS3-Simplex Events are unchanged in duration from 1/14 to 03/16
Rank Correlation of duration with date is -.011 and is significant at the .01 level
Rank Correlation of duration with date is -.017 and is not significant at the .05 level

## Slide 27: NORS Transition
NORS coordinators began to test the new system in April
Public Notice about NORS transition went out on May 10
June 2 - Training session on the new NORS
July 5 – Testing of the new NORS ends
July 20 – Cutover to the new NORS

## Slide 28: NRSC Activities
Current Teams
Best Practices Team
Outage Reporting Advisory Team
  Improvements to the NORS System
  Improvements to the template
  Recommended ways to communicate information
  Improvements to NORS/DIRS manuals
IP Transition Team
Consistent Use of Cause Codes