## Slide 1: Analysis of Network Outage Reports
Cybersecurity and Communications Reliability Division – Public Safety & Homeland Security Bureau
John Healy
December 2018

## Slide 2: Data Source
Database snapshot as of November 8, 2018
NORS Final Outage Reports from January 1, 2013 through September 30, 2018 were used in the analysis

## Slide 3: Frequency Trend Analyses
Past trend and seasonality effects
  Estimates used in trend chart
  Based on 3-year window (Jul 2015 – Jun 2018)
Most recent trend
  Comparison with past trend
  Based on 3-year window (Oct 2015 – Sep 2018)
Average monthly frequency in 3Q18
  Test if significantly different from expected frequency based on past trend and seasonality effects

## Slide 4: Changes in Reporting Rules
December 2017
  DS3 Simplex duration threshold reduced to 4 days
February 2018
  OC3s replace DS3s as transport standard
  OC3 Non-Simplex threshold raised to 667 OC3 minutes
May 2018
  User minutes calculation for Wireless outages changed

## Slide 5: OC3 Outage Reports
OC3 Non-Simplex Outage Reports
  Reason Reportable “667 OC3 minutes”
  DS3 Non-Simplex outage report
    DS3s > 2 or OC3s > 0
    DS3 minutes > 2000
OC3 Simplex Outage Reports
  Reason Reportable “OC3-Simplex greater than 4 Days”
  DS3 Simplex outage report
    DS3s > 2 or OC3s > 0

## Slide 6: Analyses Using OC3 and DS3 Outage Reports
OC3 Non-Simplex Outage Reports
  Included in all analyses
OC3 Simplex Outage Reports
  Analyzed separately
  Excluded from all other analyses unless noted otherwise
DS3 Simplex and DS3 Non-Simplex Reports
  Included in the analyses if they would have been reportable under the current rules

## Slide 7: Frequency of Outages by Month
Monthly Trend 1.1%
(up from 1.0%)
3Q18 Monthly Average 2273.3
(significantly lower than expected)
Rule Change 26% increase
Wireless Rule Change

## Slide 8: Outage Index
See ATIS-0100021 Analysis of FCC-Reportable Service Outage Data for a description of the method used to calculate the outage index.

## Slide 9: OC3 Non-Simplex
Monthly Trend 1.0%
(up from 0.8%)
3Q18 Monthly Average
1091.0
(significantly greater than expected)

## Slide 10: Big OC3 Outages

## Slide 11: Big OC3 Outages
Monthly Trend flat 0%
(unchanged)
3Q18 Monthly Average 61.0

## Slide 12: OC3 Simplex
Monthly Trend flat 0% (down from 1.0%)
3Q18 Monthly Average 308.7
Rule Change 89% increase
DurationRule Change

## Slide 13: E911
Monthly Trend flat 0.0%
(unchanged)
3Q18 Monthly Average 104.3

## Slide 14: Very Large E911 Outages
Monthly Trend
flat 0%
(down from 3.6%)
3Q18 Monthly Average
2.0

## Slide 15: E911 – Phase 2 Events
Monthly Trend flat 0%
(down from 1.5%)
3Q18 Monthly Average 28.3
(significantly lower than expected)

## Slide 16: Wireline
Monthly Trend
1.6%
(up from 1.1%)
3Q18 Monthly Average 152.0
(significantly greater than expected)

## Slide 17: Wireless
Monthly Trend
1.1%
(down from 1.2%)
3Q18 Monthly Average 794.3
Rule Change 195% increase

## Slide 18: VoIP
Monthly Trend 2.3% (down from 3.9%)
3Q18 Monthly Average
97.0
(significantly lower than expected)

## Slide 19: SS7
Monthly Trend 1.6%
(up from 0%)
3Q18 Monthly Average 17.0
(significantly greater than expected)

## Slide 20: Malicious Events
Monthly Trend flat 0%
(up from -1.9%)
3Q18 Monthly Average 12.0
(significantly greater than expected)

## Slide 21: Malicious Activity
The figures for 2018 are through September.

## Slide 22: Fiber Cut
Monthly Trend
flat 0% (unchanged)
3Q18 Monthly Average 378.0
(significantly higher than expected)
Rule Change
69% increase

## Slide 23: Planned Maintenance
Monthly Trend
3.3%
(down from 3.6%)
3Q18 Monthly Average 387.7
(significantly lower than expected)

## Slide 24: Hardware Failure
Monthly Trend 0.7%
(down from 0.8%)
3Q18 Monthly Average 631.3
Rule Change
18% increase

## Slide 25: Environmental – External
Monthly Trend 1.1% (unchanged)
3Q18 Monthly Average 302.7
(significantly lower than expected)
Rule Change
13% increase

## Slide 26: Power Failure
Monthly Trend 0.4%
(unchanged)
3Q18 Monthly Average 312.7
Rule Change
29% increase

## Slide 27: Diversity Failure
Monthly Trend -2.4%
(down from -2.0%)
3Q18 Monthly Average 52.3

## Slide 28: Duration Trends: OC3 Non-Simplex
The duration of OC3 Non-Simplex outages is statistically higher in 2018 compared with 2017 (using a Mann-Whitney test).

## Slide 29: Duration Trends: E911
The duration of E911 outages is statistically unchanged in 2018 compared with 2017 (using a Mann-Whitney test).
7

## Slide 30: Duration Trends: Wireline
The duration of wireline outages is statistically lower in 2018 compared with 2017 (using a Mann-Whitney test).

## Slide 31: Duration Trends: Wireless
The duration of wireless outages is statistically unchanged in 2018 compared with 2017 (using a Mann-Whitney test).
13

## Slide 32: Duration Trends: VoIP
The duration of VoIP outages is statistically lower in 2018 compared with 2017 (using a Mann-Whitney test).
8

## Slide 33: Duration Trends: OC3 Simplex (outages with duration 5 days or more)
The duration of OC3 Simplex outages is statistically lower in 2018 compared with 2017 (using a Mann-Whitney test).

## Slide 34: Test for Trend in Event Duration
Non-OC3-Simplex Outages
Data from October 2015 thru September 2018
Conclusion: Durations of Non-OC3-Simplex Outages have not changed over the period from October 2015 thru September 2018.
OC3-Simplex Events Only
(5 days duration minimum)
Data from October 2015 thru September 2018
Conclusion: Durations of OC3-Simplex Events have decreased over the period from October 2015 thru September 2018.
Rank Correlation of duration with date is .008 and is not statistically significant.
Rank Correlation of duration with date is -.042 and is statistically significant.
34

## Slide 35: Outages In Progress OC3 Non-Simplex

## Slide 36: Outages In Progress Other Service-Affecting Outages

## Slide 37: NORS Transition
Hold monthly NORS Coordinator meetings
Update the NORS User Manual
Implemented DS3 Simplex threshold change in December 2017
Implemented change from DS3s to OC3s in February 2018
Implemented the rule change on how to count the number of wireless users in May 2018