## Slide 1: Analysis of Network Outage Reports
Cybersecurity and Communications Reliability Division – Public Safety & Homeland Security Bureau
Jay Bennett
December 2021

## Slide 2: Data Source
Database snapshot as of November 8, 2021
NORS Final Outage Reports from January 1, 2013 through September 30, 2021 were used in the analysis

## Slide 3: Frequency Trend Analyses
Past trend and seasonality effects
  Estimates used in trend chart
  Based on 3-year window (3Q18 – 2Q21)
Most recent trend
  Comparison with past trend
  Based on 3-year window (4Q18 – 3Q21)
Average monthly frequency (3Q21)
  Test if significantly different from expected frequency based on past trend and seasonality effects

## Slide 4: Analyses Using OC3 Outage Reports
OC3 Non-Simplex Outage Reports
  Included in all analyses
OC3 Simplex Outage Reports
  Analyzed separately
  Excluded from all other analyses unless noted otherwise

## Slide 5: Frequency of Outages by Month
Monthly Trend
0.9%
(Current 0.7%)
3Q21 Monthly Average
3611
(significantly lower than expected)

## Slide 6: OC3 Simplex
3Q21 Monthly Average 932
Monthly Trend
0.9%
(Current 0.7%)

## Slide 7: OC3 Non-Simplex
3Q21 Monthly Average
1890
(significantly lower than expected)
Monthly Trend
0.9%
(Current 0.4%)

## Slide 8: Large OC3 Non-Simplex Outages

## Slide 9: Large OC3 Non-Simplex Outages
3Q21 Monthly Average 134
Monthly Trend
2.0%
(Current 1.6%)

## Slide 10: E911
3Q21 Monthly Average 114
Monthly Trend
0%
(Current 0%)

## Slide 11: Very Large E911 Outages
3Q21 Monthly Average
2.3
Monthly Trend
0%
(Current 0%)

## Slide 12: E911 – Phase 2 Events
3Q21 Monthly Average 28
(significantly lower than expected)
Monthly Trend
0.8%
(Current 0%)

## Slide 13: Wireline
3Q21 Monthly Average 137
(significantly higher than expected)
Monthly Trend
0%
(Current 0%)

## Slide 14: Wireless
3Q21 Monthly Average 1305
Monthly Trend
1.5%
(Current 1.5%)

## Slide 15: VoIP/VoLTE
3Q21 Monthly Average
856
Monthly Trend
0.7%
(Current 0.6%)

## Slide 16: SS7
3Q21 Monthly Average 31
Monthly Trend
0.9%
(Current 0%)

## Slide 17: Special Facilities Outages
Monthly Trend
-0.6%
(Current -0.5%)
3Q21 Monthly Average 884

## Slide 18: Malicious Events
3Q21 Monthly Average 50
(significantly higher than expected)
Monthly Trend
1.9%
(Current 2.1%)

## Slide 19: Fiber Cut
3Q21 Monthly Average 311
(significantly lower than expected)
Monthly Trend
0%
(Current 0%)

## Slide 20: Planned Maintenance
3Q21 Monthly Average 410
(significantly lower than expected)
Monthly Trend
1.1%
(Current 0.9%)

## Slide 21: Hardware Failure
3Q21 Monthly Average 1159
(significantly higher than expected)
Monthly Trend
1.0%
(Current 1.3%)

## Slide 22: Environmental – External
3Q21 Monthly Average 474
Monthly Trend
0.9%
(Current 0.6%)

## Slide 23: Power Failure
3Q21 Monthly Average 801
(significantly lower than expected)
Monthly Trend
2.8%
(Current 2.2%)

## Slide 24: Diversity Failure
3Q21 Monthly Average 235
Monthly Trend
1.0%
(Current 1.2%)

## Slide 25: Duration Trends: OC3 Non-Simplex
Through September, durations in 2021 have not been statistically different from 2020.

## Slide 26: Duration Trends: E911
7
Through September, durations in 2021 have not been statistically different from 2020.

## Slide 27: Duration Trends: Wireless
19
Through September, durations have been significantly longer in 2021 compared with 2020.

## Slide 28: Duration Trends: VoIP
8.1
Through September, durations in 2021 have been significantly shorter than in 2020.

## Slide 29: Duration Trends: Wireline
Through September, durations in 2021 have not been statistically different from 2020.

## Slide 30: Duration Trends: OC3 Simplex
Through September, durations have not been statistically different from 2020.

## Slide 31: Test for Trend in Event Duration
Non-OC3-Simplex outages
from October 2018 thru
September 2021
Conclusion: Durations of Non-OC3-Simplex outages have increased over the period from October 2018 thru September 2021.
OC3-Simplex events
from October 2018 thru
September 2021
Conclusion: Durations of OC3-Simplex events have increased over the period from October 2018 thru September 2021.
Rank Correlation of duration with date is .050 and is statistically significant.
Rank Correlation of duration with date is .061 and is statistically significant.
31

## Slide 32: Outages In Progress OC3 Non-Simplex

## Slide 33: Outages In Progress Other Service-Affecting Outages